## Slide 1
Power generation on a x-minute precision (x ≈ 30) i.e. mean values of power very x min.
Chart: Power
| -30 | 0 | 0 | 30 | 30 | 60 | 60 | 90
Power (kW) | 650 | 655 | 720 | 670
Point1 | 650 | 650
Point2 | 655 | 655
Point3 | 720 | 720
Point4 | 670 | 670
Chart: Power
| -30 | 0 | 0 | 30 | 30 | 60 | 60 | 90
Power (kW) | 650 | 655 | 720 | 670
Point1 | 650 | 650
Point2 | 655 | 655
Point3 | 720 | 720
Point4 | 670 | 670
Simulation of 1-min variability using 1-min variability data
Evaluation of energy loss because of unexpected drops due to 1-min variability
Chart: Power
| -30 | 0 | 0 | 30 | 30 | 60 | 60 | 90
Power (kW) | 650 | 655 | 720 | 670
Point1 | 650 | 650
Point2 | 655 | 655
Point3 | 720 | 720
Point4 | 670 | 670

## Slide 2: List of 1-min power variability simulation methods
Input: 1-min state-transition-rate matrix
  Gaussian noise around the 30-min average
  - Standard deviation calculated from the matrix
  - Loss(%) at every minute is in average
  , coming from truncated normal distribution results
Input: 1-min data for a long period